Winton Water and Sanitary District

| P.O. Box 970 6951 N. Winton Way Winton, CA 95388-0970 | 209-358-2367 FAX 209-358-3253 |
| --- | --- |

Member of: California Association of Sanitation Agencies, American Water Works Association, California Rural Water Association

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Este informe contiene informacion muy importante sobre su agua potable.

Por favor hable alguien que lo pueda traducer.

Our water system recently failed a drinking water standard.  Although this is not an emergency, as our customers, you have a right to know what you should do, what happened, and what we are doing to correct this situation.

We routinely monitor for the presence of drinking water contaminants.  Testing results we received on October 23, 2018 show that our system exceeds the standard, or maximum contaminant level (MCL), for 1,2,3-trichloropropane (1,2,3-TCP is 0.000005 mg/L (milligrams per liter) which is equivalent to 0.005 ug/L (micrograms per liter).  The average level of 1,2,3-TCP for Well 17 is

0.009 ug/l and Well 14 is ND  ug/l.

What should I do?

- You do not need to use an alternative (e.g., bottled) water supply.

- This is not an immediate risk.  If it had been, you would have been notified immediately.  However, some people who drink water containing 1,2,3-trichloroporpane in excess of the MCL over many years may have an increased risk of getting cancer.

- If you have other health issues concerning the consumption of this water, you may wish to consult your doctor.

What happened? What is being done?

We are working with the SWRCB to evaluate the water supply and researching options to correct the problem.  These options will include treating the water to remove 1,2,3-TCP.  We anticipate resolving the problem within the next

three (3) years.

For more information, please contact:

Carlos Valencia, Maintenance Supervisor 					Brenda Wey, Office Supervisor

Mail: 6951 N. Winton Way, Winton, Ca 95388				Mail: 6951 N. Winton Way, Winton, Ca 95388

Phone: 209-564-2975							Phone: 209-358-2367

Secondary Notification Requirements

Upon receipt of notification from a person operating a public water system, the following notification must be given within 10 days (Health and Safety Code Section 116450(g):

- SCHOOLS: Must notify school employees, students, and parents (if the students are minors)

- RESIDENTIAL RENTAL PROPERTY OWNERS, OR MANAGERS (including nursing homes and care facilities): Must notify tenants.

- BUSINESS PROPERTY OWNERS, MANAGERS, OR OPERATORS: Must notify employees of business located on the property.

This notice is being sent to you by Winton Water and Sanitary District in compliance with the California Domestic Water Quality and Monitoring Regulations as a means of keeping the public informed.

State Water System ID: 2410010            						 Date distributed: January 18, 2019

El Winton Water and Sanitary District tiene niveles de 1,2,3-Trichloropropane en exceso del estándar para agua potable

Nuestro sistema de agua recientemente falló un estándar de agua potable.  Aunque esto no es una emergencia, como nuestros clientes, tienen el derecho de saber que deben de hacer, que pasó, y que estamos haciendo para corregir esta situación.

Rutinariamente tomamos pruebas para contaminantes en la agua potable de nuestra sistema.  Resultados de las pruebas que recibimos el October 23, 2018 mostraban 1,2,3-trichloropropane (1,2,3-TCP) niveles de Well 17 es 0.009 ug/l and Well 14 es ND ug/l  Este resultado es mas de el estándar para el 1,2,3-TCP de 0.005 ug/l (0.000005 mg/L ) .

¿Qué es lo que debo de hacer?

- Usted no necesita usar una fuente alternativa (e.g. botella) de agua.

- Esto no es una emergencia.  Si fuese, habría sido informado inmediatamente.  Algunas personas que beben agua que contiene 1,2,3-TCP en exceso de el estándar para el 1,2,3-TCP durante muchos años pueden tener un mayor riesgo de contraer cáncer.

- Si usted tiene otros problemas de salud relativos al consumo de esta agua, puede que desee consultar a su médico.

¿Que pasó? ¿Que se hiso?

Estamos trabajando con [local/state agency] para evaluar el suministro de agua e investigando opciones para corregir el problema. Estas opciones pueden incluir el tratamiento de las aguas para eliminar 1,2,3-TCP o conexión a el abastecimiento de agua. Esperamos resolver el problema dentro de tres anos.

Para más información, favor de ponerse en contacto con Carlos Valencia, Maintenance Supervisor at 209-564-2975 or Brenda Wey, Office Supervisor at 209-358-2367 or 6951 N. Winton Way, Winton, Ca 95388.

Por favor comparta esta información con todos aquellos que usen este sistema de agua, especialmente con aquellos que no hayan recibido esta noticia directamente (por ejemplo, gente que viva en apartamentos, hogares de cuido, escuelas, y negocios).  Usted puede hacer esto poniendo éste aviso en un lugar público o distribuyendo copias directamente o por correo.

Requerimientos de Notificación Secundaria

Al recibo de notificación del operador del sistema del agua, la siguiente noticia debe ser dada dentro de 10 días [Sección 11645(g) del Código de Salubridad y Sanidad]:

- Escuelas: Deben notificar empleados escolares, estudiantes, y padres (si los estudiantes son menores).

- Dueños o Manejadores de Propiedades de Renta Residenciales (incluyendo hogares de enfermería y otras facilidades de cuido) deben notificar inquilinos.

- Dueños, Manejadores, u Operadores: Deben notificar empleados de negocios localizados en las propiedades.

Este aviso ha sido enviado a usted de parte de Winton Water and Sanitary District.

Fecha : January 18, 2019